## Slide 1: TUNITAS CREEK BEACH
Site Lighting
March 22, 2023

## Slide 2
Tunitas Site Lighting
10.26.2022 Comments.
Keep the Park rural.
Key Changes.
Removed lighting at mid bluff and Ranger Residence.
Lighting Purpose.
Provide safe egress from the park at the end of the day.

## Slide 3: 1 FC Standard For Egress (State Parks)

## Slide 4
Lights active from sunset and shutoff 2 hours after activation.
Photometric Plan

## Slide 5
Fixture Mounting

## Slide 6
Red Rocks

## Slide 7: TUNITAS CREEK BEACH
Site Lighting
March 22, 2023

## Slide 8
Original Lighting

## Slide 9
Dark Sky Friendly

## Slide 10
Light Wavelength
Peak Power

## Slide 11
Color Temperature
3,000 k
Consistent with AMA recommendations
3,000 k
Consistent with AMA recommendations

## Slide 12: Definition of a Foot Candle

## Slide 13
Energy Use